## Slide 1
Utilizing directional secondary DT-neutron spectra to infer hot-spot performance of Inertial Confinement Fusion implosions
P.J. Adrian1, B. Lahmann1, A. Zylstra2, E.P. Hartouni2, M. Gatu Johnson1, D. Casey2, F. H. Seguin1, C. K. Li1, R. D. Petrasso1 , J. Frenje1
1MIT NNSA Center of Excellence
2Lawrence Livermore National Laboratory
NIF Users Group Meeting 2020

## Slide 2
Secondary DT measurements are used to infer hot spot areal density () at stagnation
Pressure degradation from low-mode asymmetries is quantified using inferred
Measurements of directional secondary DT spectra are used to measure hot spot asymmetry
Utilizing directional secondary DT-neutron spectra to infer hot-spot performance of Inertial Confinement Fusion implosions

## Slide 3
Secondary DT neutrons are observed on D2 and D3He implosions
Primary DD Reactions
Target
Fuel (DT)
Imploded D-Filled
Capsule
~150 um
p
“Secondary DT Neutron”
Remaining
Ablator
Compressed
Deuterium Fuel
Secondary DT-n Reaction

## Slide 4
4 neutron time of flight (NTOF) spectrometers with different lines of sight are used
North Pole NTOF
(ϴ = 18°)
South Pole NTOF
(ϴ = 161°)
Equator NTOF
(ϴ = 90°)
Alcove NTOF
(ϴ = 116°)
10m
NIF Target Chamber
DT-n
3.5 DD-n
Neutron Time of Flight Trace (Shot N151025)

## Slide 5
The yield ratio between primary and secondary neutrons
carries information about the hot-spot

## Slide 6
Areal Density is inferred from secondary DT yields and used to evaluate performance of D3He surrogate implosions for
the HyE, Frust, HohlScan and HotThick campaigns
Key design changes are evaluated with measurements of and

## Slide 7
Secondary DT measurements are used to infer hot spot areal density () at stagnation
Pressure degradation from low-mode asymmetries is quantified using inferred
Measurements of directional secondary DT spectra are used to measure hot spot asymmetry
Utilizing directional secondary DT-neutron spectra to infer hot-spot performance of Inertial Confinement Fusion implosions

## Slide 8
The final size of the hot spot (Rfinal) is inferred from
conservations of mass and the secondary yield
Capsule before shot
Capsule at peak convergence
Known
Inferred
Conservation of Mass

## Slide 9
X-rays
The P0 (Rfinal) inferred from the secondary data is poorly correlated
with the measured P0 from x-ray imaging

## Slide 10
P2 X-rays [%]
The difference between P0 measured from secondaries and x-rays is highly correlated with the P2 of the x-ray image suggesting the data set is sensitive to low mode asymmetry

## Slide 11
Inferred hot spot pressure is also observed to be highly correlated with the P2 observed by x-ray imaging
Secondaries
Primaries

## Slide 12
A piston model for mode-2 asymmetry predicts pressure degradation scales as (1- P2)2, as observed in the data
Piston model predicts pressure degradation has small sensitivity to coast time
Suggests secondary data can be used to quantify how much pressure degradation is attributed to low-mode asymmetry
Varying coast time

## Slide 13
Secondary DT measurements are used to infer hot spot areal density () at stagnation
Pressure degradation from low-mode asymmetries is quantified using inferred
Measurements of directional secondary DT spectra are used to measure hot spot asymmetry
Utilizing directional secondary DT-neutron spectra to infer hot-spot performance of Inertial Confinement Fusion implosions

## Slide 14
The shape of the secondary neutron spectra is a function of the hot-spot

## Slide 15
Hot-spot asymmetries impact the shape of the secondary neutron spectra measured along different lines of sight
P/P0 = {+40%, 0%, -40%}
North Pole
South Pole
Equator
Calculations for

## Slide 16
nTOF traces observed in different directions show asymmetries
N190218 (I_Int_Sym_HyE_S01a)
Notice both the primary difference is in the width of the polar versus equatorial traces

## Slide 17
The observed spectra at the poles and equator for N190218
can be explained by a large P2 and Carbon mix
P0 = 100 um
P2 = 0 %
No Mix
P0 = 90 um
P2 = -60 %
No Mix
P0 = 95 um
P2 = -60 %
20 Carbon mix

## Slide 18
X-ray images calculated from the fuel geometry inferred from the secondaries compare favorably with measured x-ray images
Synthetic X-ray image from fuel shape and composition inferred from DT secondaries
Shape | Equator X-ray Image | Synthetic Equatorial X-ray image
P0 [um] | 72.4 | 74
P2 [ um ] | 30.4 | 25